## Slide 2
Let’s Work on the Data
NeuroLight Combines Theory & Hands-on
Notes: 55

## Slide 3
Data Exploration
Notes: 55

## Slide 4
Data Exploration
Command
>> sub_1= matfile('S1001_run01.nirs’)
> whos(sub_1)
Step 1: Load the real data & understand the file
Variable | Description
d | Raw light intensity (channels × time)
t | Time vector (in seconds)
s | Stimulus vector (1 = event on)
aux | Auxiliary signals (e.g., accelerometer)
ml | Measurement list (channel & wavelength mapping)
SD | Source-detector geometry (layout, wavelengths)
tdml | Transposed version of d (not necessary)
systemInfo | Metadata about acquisition device
Result
Notes: 58

## Slide 5
Data Exploration
Command
>> SD= sub_1.SD;
wavelengths= SD.Lambda;
Step 2: Discover optodes placements and wavelengths used
Result
>>ml= sub_1.ml;
Column | Meaning
1 | Source index (source optode number)
2 | Detector index (detector optode number)
3 | Active flag — typically 1 = active
4 | Wavelength index — usually 1 or 2 (e.g., 690 nm and 830 nm)
Notes: 58

## Slide 6
Data Exploration
Command
Step 3: Get source-detector distance Visualize optodes
Result
Notes: 58

## Slide 7
Preprocessing in fNIRS
Notes: 55

## Slide 8
Disclaimer!!
We assume that you have background knowledge from DSP and computer vision courses
Notes: 55

## Slide 9
Preprocessing Steps
Step 1: A) Visual Inspection on subject level
Command
Notes: 56

## Slide 10
Preprocessing Steps
Step 1: A) Visual Inspection on subject level
Notes: 56

## Slide 11
Preprocessing Steps
Step 1: A) Visual Inspection on subject level
Notes: 56

## Slide 12
Preprocessing Steps
Step 1: B) Visual Inspection on channel level
Notes: 56

## Slide 13
Preprocessing Steps
First Five Channels
Step 1: C) Focus on specific channels for clarification
Optode Mapping
Notes: 58

## Slide 14
Preprocessing Steps
Step 2: Convert to optical density & visualize again
>> dod = hmrIntensity2OD(d);
Command
Result
Notes: 56

## Slide 15
Common Correction Techniques:
Wavelet Filtering
Principal Component Analysis (PCA)
Spline Interpolation
Kalman Filtering
Step 3: Motion Correction
Preprocessing Steps
Notes: 60

## Slide 16
Wavelet Transform Overview
Starts with a mother wavelet
Generates daughter wavelets via scaling & translation
Decomposes signal into wavelet coefficients:
Show how well the wavelet matches signal parts at various time-frequency scales
Output:
Coefficients reflect structure in the signal
Outliers often = motion artifacts
Notes: 62

## Slide 17
Preprocessing Steps
Command
Result
[d_wavelet, ~] = hmrMotionCorrectWavelet(data.d, data.t, iqr_thresh);
Before
After
Step 3: Wavelet Filtering – Motion Correction
Notes: 58

## Slide 18
Spline Interpolation
Notes: 69

## Slide 19
Preprocessing Steps
Command
Result
Before
After
Step 3: Spline Interpolation – Motion Correction
data_corrected=hmrR_MotionCorrectSpline(p)
Notes: 58

## Slide 20
Preprocessing Steps
Step 4: Filtering Techniques
Frequency Based Filters
Low pass, band pass, and high pass filters to remove unwanted frequency components.
PCA filters
Decompose signal into principal components and remove highest variance component.
Notes: 76

## Slide 21
Low Pass
High Pass
Band-pass
Key Notes:
“One size fits all" doesn't apply.
Limitations: Noise frequency range overlap with signal. High pass can introduce ripples. Filters attenuate unwanted ranges but don't completely remove them.
Step 4: Frequency Based Filters -- Filtering Techniques
Notes: 77

## Slide 22
Preprocessing Steps
Command
Result
Before
After
Band-Pass filter
hpf = 0.01; % high-pass cutoff (Hz) lpf = 0.5; % low-pass cutoff (Hz)
[dod_filt, ~] = hmrBandpassFilt(dod, t, SD, hpf, lpf);
Notes: 58

## Slide 23
Preprocessing Steps
Command
Result
Before
After
Step 4: PCA Filter – Filtering Techniques
>> PCAFilter(nSV) %% Number of principal components to remove
Notes: 58

## Slide 24
Step 5: Baseline correction:
Preprocessing Steps
Method | When to Use | Homer Function
Bandpass Filter | Always | hmrBandpassFilt
Baseline Subtraction | Block design avg | hmrBlockAvg
GLM with Drift Correction | GLM-based studies | hmrDeconvHRF_DriftSS
Notes: 79

## Slide 25
Step 6: Modified Beer lambert law
Preprocessing Steps
HBO
HBR
HBT
dc = hmrOD2Conc(dod, SD, ppf); % dc = HbO, HbR, HbT concentrations
Command
Notes: 79

## Slide 26
Preprocessing cont.
Step 7: Short Separation Channel (Recommended)
Command
To be used in GLM to regress out the component of the LS signal that correlates with the SS signal
Notes: 81

## Slide 28
Preprocessing Final Note
  The specific sequence and choice of preprocessing techniques depend on the quality of the raw data and the objectives of the study.
The preprocessing steps outlined here are not always followed in a strict order, nor are all steps necessarily applied.
Notes: 81

## Slide 29: Our Study Pipeline
Raw Signal Intensity
De-mean & Convert
Band-Pass Filter 0.016-0.2 HZ
Motion Artifacts Identification?
Eliminate Trials
PCA for Noise Reduction
Band-Pass Filter 0.016-0.5 HZ
Apply Modified BLL

## Slide 30
fNIRS Statistical Analysis
Now, you have the cleaned data. Next Step is Analysis. Goal: Answering the research question, like
1- Which areas were activated?
2- Are there differences between conditions or groups ?
Notes: 82

## Slide 31
Let's be clear on some statistical concepts:
Any statistical model aims to describe how the dependent variable is influenced by the effects of the independent variables.
Notes: 83

## Slide 32
Fixed
Random
Independent variable can be:
The values are fixed, and they represent the whole population of values in which we’re interested in
You model their variance to avoid biasing your fixed effects.
You don’t interpret their exact value.
These subject-specific values are treated distribution (usually normal).
Notes: 83

## Slide 33
How this applies to fNIRs?
Independent Variable
(Regressor)
Dependent Variable
Fixed
Random
Just keep this in Mind!
Time series change in HbO or HbR.
Stimulus Timing
Subject-specific deviations from that average — e.g., some subjects have larger or smaller HbO changes than the group mean
Notes: 83

## Slide 34
Statistical Analysis Methods
Notes: 28

## Slide 35
Block Average
Notes: 39

## Slide 36
1- Experimental Settings (Two Channels, boxcar/ time regressor)
2- Epoching/ Segment Data
3- Average all blocks for that channel (point-by-point across time) to get average HRF
Notes: 85

## Slide 37
4- Comparison with rest state signal or across channels
Notes: 85

## Slide 38
Comments on Block Average
It's a descriptive analysis technique not a statistical model on itself. However, you can follow it with statistical tests (e.g., t-tests) to assess whether the observed response differs significantly from baseline or across conditions.
When to Use Block Averaging
Limitations
Your design is simple and block-based
You want a quick look at response shapes.
For visual inspection before applying GLM or LMM.
Reduces temporal resolution by collapsing time series into an average.
Cannot model noise, confounding variables, or multiple regressors.
Notes: 84

## Slide 39
GLMs
Notes: 39

## Slide 40
Generalized Linear Model
GLM Assumptions:
1- Task responses are non-stochastic (non-random) and are the same across trials of the same task.
2- Noise is independently and identically distributed (White Noise)
3. Predictors are not linear derivations of each other
Considerations for Assumptions:
1- GLM accounts for fixed variables only. If this is violated, results vary a lot
2- Do pre-whitening to convert correlated "color" noise to uncorrelated noise. Use Autoregressive Model to do this conversion.
3- Do multicollinearity step. Variance Inflation Factor (VIF) can be computed to detect multicollinearity.
Notes: 86

## Slide 41
Generalized Linear Model
X = design matrix with fixed effect regressors:
  Task A (stimulus function convolved with HRF)
  Task B (stimulus function convolved with HRF)
  SS regressor (the signal from a short-separation channel)
Y= HbO time series at that channel
= residuals  we don't know them until after fitting
“fNIRS GLM works just like in fMRI — same design matrix, same beta estimation — but we often add extra regressors like short separation signals to remove contamination from scalp blood flow”
Notes: 86

## Slide 42
Steps of GLM
Pre-whitening = Removing autocorrelation
Making sure the noise is flat, not bumpy (correlated), so you don’t mistake a bump for a signal.
Problems of Autocorrelation: False positives
1
Pre-whitening
Transformation
*
Autoregressive Model
So instead of looking at the data in its original coordinate system, you rotate your view (via the AR-based transformation matrix)
Notes: 87

## Slide 43
Steps of GLM
X Y
2
Design Matrix & Response
Time (s) | Task A | Task B | SS regressor
0 | 0 | 0 | 0.2
5 | 0.8 | 0 | 0.3
10 | 0.6 | 0 | 0.25
15 | 0 | 0.9 | 0.3
20 | 0 | 0.7 | 0.2
... | ... | ... | ...
​0.1
0.5
0.4
0.6
0.5
Notes: 87

## Slide 44
Steps of GLM
3
Solve
By Ordinary Least Squares (OLS)
​=
Notes: 87

## Slide 45
LMMs
Notes: 39

## Slide 46
Linear Mixed Models
  It extends GLM by incorporating the random variables.
  This framework allows researchers to draw population-level inferences while maintaining sensitivity to individual differences.
X: Fixed Effects
  LMM allows random slopes and intercepts per subject, improving inference and generalization
Z: Random Effects
Notes: 88

## Slide 47
Linear Mixed Models
Time (s) | Subj1 Intercept | Subj1 Task A | Subj2 Intercept | Subj2 Task A
0 | 1 | 0 | 0 | 0
5 | 1 | 0.8 | 0 | 0
10 | 1 | 0.6 | 0 | 0
15 | 0 | 0 | 1 | 0
20 | 0 | 0 | 1 | 0
Z
You still get overall fixed effects for Task A, Task B, SS regressor (as in GLM).
But you also estimate how much subjects vary — e.g., whether Subject 1 responds more or less strongly to Task A than average.
This increases statistical power and generalizability, and avoids treating all inter-subject variability as noise.
Notes: 88

## Slide 49
End of the Neuro-Light Lab fNIRS Analysis Section
Scripts